## Vernier
MASTER LIST OF INSTRUMRNTS/GAUGES
SL. NO. | DESCRIPTION OF ITEM | HISTORY CARD NO. | PERIODICITY OF CALIBRATION | IDENTIFICATION MARK | LOCATION | CAL DUE ON
1 | Digital Vernier 1 | HC/01/01 | Yearly | ABC/1 | HF1 | 2026-01-01
2 | Digital Vernier 2 | HC/01/02 | Yearly | ABC/2 | HF2 | 2026-02-01
3 | Digital Vernier 3 | HC/01/03 | Yearly | ABC/3 | HF3 | 2026-03-01
4 | Digital Vernier 4 | HC/01/04 | Yearly | ABC/4 | HF4 | 2026-04-01
5 | Digital Vernier 5 | HC/01/05 | Yearly | ABC/5 | HF5 | 2026-05-01
6 | Digital Vernier 6 | HC/01/06 | Yearly | ABC/6 | HF6 | 2026-06-01
7 | Digital Vernier 7 | HC/01/07 | Yearly | ABC/7 | HF7 | 2026-07-01
8 | Digital Vernier 8 | HC/01/08 | Yearly | ABC/8 | BF1 | 2026-08-01
9 | Plain Vernier 1 | HC/01/09 | Yearly | ABC/9 | BF2 | 2026-09-01
10 | Plain Vernier 2 | HC/01/10 | Yearly | ABC/10 | BF3 | 2026-10-01
11 | Plain Vernier 3 | HC/01/11 | Yearly | ABC/11 | NF1 | 2026-11-01
12 | Plain Vernier 4 | HC/01/12 | Yearly | ABC/12 | NF2 | 2026-12-01
Prepared By : Approved By:

## Micrometers
MASTER LIST OF INSTRUMRNTS/GAUGES
SL. NO. | DESCRIPTION OF ITEM | HISTORY CARD NO. | PERIODICITY OF CALIBRATION | IDENTIFICATION MARK | LOCATION | CAL DUE ON
1 | Digital Micromter | HC/01/13 | Yearly | ABC/13 | HF | 2026-03-01
2 | Plain Micrometer 1 | HC/01/14 | Yearly | ABC/14 | HF | 2026-04-01
3 | Plain Micrometer 2 | HC/01/15 | Yearly | ABC/15 | HF | 2026-05-01
4 | Plain Micrometer 3 | HC/01/16 | Yearly | ABC/16 | HF | 2026-06-01
5 | Plain Micrometer 4 | HC/01/17 | Yearly | ABC/17 | BF | 2026-07-01
6 | Plain Micrometer 5 | HC/01/18 | Yearly | ABC/18 | BF | 2026-08-01
7 | Plain Micrometer 6 | HC/01/19 | Yearly | ABC/19 | NF | 2026-09-01
8 | Plain Micrometer 7 | HC/01/20 | Yearly | ABC/20 | NF | 2026-10-01
Prepared By : Approved By:

## Other Instr
MASTER LIST OF INSTRUMRNTS/GAUGES
SL. NO. | DESCRIPTION OF ITEM | HISTORY CARD NO. | PERIODICITY OF CALIBRATION | IDENTIFICATION MARK | LOCATION | CAL DUE ON
1 | Hardness Tester | HC/01/21 | Yearly | ABC/21 | LAB | 2026-01-01
2 | Digital Hardness Tester | HC/01/22 | Yearly | ABC/22 | LAB | 2026-02-01
3 | Profile Projector | HC/01/23 | Yearly | ABC/23 | LAB | 2026-03-01
4 | MicroScope | HC/01/24 | Yearly | ABC/24 | LAB | 2026-04-01
5 | Taco Meter | HC/01/25 | Yearly | ABC/25 | LAB | 2026-05-01
6 | Lux Meter | HC/01/26 | Yearly | ABC/26 | LAB | 2026-06-01
7
8
9
10
11
12
Prepared By : Approved By:

## Snap Gage
High Tensile Fastnuts (I) Pvt Ltd
MASTER LIST OF SNAP GAUGES
SL. NO. | DESCRIPTION OF ITEM | HISTORY CARD NO. | PERIODICITY OF CALIBRATION | IDENTIFICATION MARK | LOCATION | CAL DUE ON
1 | M5 Pitch Diameter | HC/01/27 | Monthly | RKP600 | HF | 2026-12-01
2 | M4 Pitch Diameter | HC/01/28 | Monthly | RKP603 | HF | 2026-12-01
3 | FST4.2 Pitch Diameter | HC/01/29 | Monthly | RKP4041 | HF | 2025-12-01
4 | FST4.8 Pitch Diameter | HC/01/30 | Monthly | RKP4038 | HF | 2025-12-01
5 | FST4.8 Pitch Diameter | HC/01/31 | Monthly | RKP4039 | HF | 2025-12-01
6 | FST4.8 Pitch Diameter | HC/01/32 | Monthly | RKP1471/02 | HF | 2025-12-01
00Z | M6 Pitch Diameter | HC/01/33 | Monthly | RKP4031 | HF | 2025-12-01
8 | M6 Pitch Diameter | HC/01/34 | Monthly | RKP4030 | HF | 2025-12-01
10 | M8 Bore Gauge | HC/01/35 | Monthly | RKP2164 | HF | 2025-12-01
11 | M6 Bore Gauge | HC/01/36 | Monthly | PPG/M6/08 | HF | 2025-12-01
12 | M6 Pitch Diameter | HC/01/37 | Monthly | RKP4034 | HF | 2025-12-01
13 | FST4.8 Major Diameter | HC/01/38 | Monthly | RKP4042 | TH | 2025-12-01
14 | FST4.8 Major Diameter | HC/01/39 | Monthly | RKP4045 | TH | 2025-12-01
15 | FST4.2 Major Diameter | HC/01/40 | Monthly | RKP4044 | TH | 2025-12-01
16 | WN8 A/F | HC/01/41 | Monthly | RKP02180 | NF | 2025-12-01
17 | HS6 A/F | HC/01/42 | Monthly | RKP2168 | NF | 2025-12-01
18 | SQNM6 A/F | HC/01/43 | Monthly | YPE-2 | NF | 2025-12-01
19 | SQNM6 Thickness | HC/01/44 | Monthly | YPE-2 | NF | 2025-12-01
20 | FS8 A/F | HC/01/45 | Monthly | RKP2175 | BF | 2025-12-01
21 | FS6 A/F | HC/01/46 | Monthly | RKP2172 | BF | 2025-12-01
22 | HS6 A/F | HC/01/47 | Monthly | RKP2160 | BF | 2025-12-01
23 | M6 Pitch Diameter | HC/01/48 | Monthly | RKP4032 | BF | 2025-12-01
24 | M6 Pitch Diameter | HC/01/49 | Monthly | RKP4035 | BF | 2025-12-01
25 | M6 Pitch Diameter | HC/01/50 | Monthly | NEW HTF/M6/08 | BF | 2025-12-01
26 | M8 Pitch Diameter | HC/01/51 | Monthly | RKP4036 | BF | 2025-12-01
27 | DSE5/14 Teeth End Major Diameter | HC/01/52 | Monthly | RKP-1470/1 | TH | 2025-12-01
28 | DSE5/14 Teeth End Pitch Diameter | HC/01/53 | Monthly | RKP-1474/1 | BF | 2025-12-01
29 | DSE5/14 A/F | HC/01/54 | Monthly | RKP1478/1 | BF | 2025-12-01
30 | DSE8/16 A/F | HC/01/55 | Monthly | RKP-1472/1 | BF | 2025-12-01
31 | DSE8/16 Teeth End Pitch Diameter | HC/01/56 | Monthly | RKP-1475/1 | BF | 2025-12-01
32 | DSE8/16 Teeth End Major Diameter | HC/01/57 | Monthly | RKP-3539 | TH | 2025-12-01
| Prepared By : Amit |  |  | Verified By : Vinod

## Thread Plug Gauge
High Tensile Fastnuts (I) Pvt Ltd
MASTER LIST OF SNAP GAUGES
SL. NO. | DESCRIPTION OF ITEM | HISTORY CARD NO. | PERIODICITY OF CALIBRATION | IDENTIFICATION MARK | LOCATION | CAL DUE ON
1 | M4X0.8x6H D/E Plug | HC/01/58 | Monthly | ABC/301 | TH | 2026-12-01
2 | M4X0.8x6G D/E Plug | HC/01/59 | Monthly | ABC/311 | TH | 2026-12-01
3 | M5X0.8-6H D/E Plug | HC/01/60 | Monthly | ABC/321 | TH | 2026-12-01
4 | M5X0.8-6H D/E Plug | HC/01/61 | Monthly | ABC/331 | TH | 2026-12-01
5 | M5×0.8 6G D/E Plug | HC/01/62 | Monthly | ABC/341 | TH | 2026-12-01
6 | M6 Perpen Gge Plug | HC/01/63 | Monthly | ABC/351 | TH | 2026-12-01
00Z | M6x1 6G D/E Plug | HC/01/64 | Monthly | ABC/361 | TH | 2026-12-01
8 | M6X1 6H D/E Plug | HC/01/65 | Monthly | ABC/371 | TH | 2026-12-01
10 | M6x1 6G D/E Plug | HC/01/66 | Monthly | ABC/381 | TH | 2026-12-01
11 | M7x1 6G D/E Plug | HC/01/67 | Monthly | ABC/391 | TH | 2026-12-01
12 | M8×1.25 6H D/E Plug | HC/01/68 | Monthly | ABC/401 | TH | 2026-12-01
13 | M8×1.25 6H D/E Plug | HC/01/69 | Monthly | ABC/411 | TH | 2026-12-01
14 | M8×1.25 6G D/E Plug | HC/01/70 | Monthly | ABC/421 | TH | 2026-12-01
15 | M10×1.25 6H D/E Plug | HC/01/71 | Monthly | ABC/431 | TH | 2026-12-01
16 | M10×1.25 6G D/E Plug | HC/01/72 | Monthly | ABC/441 | TH | 2026-12-01
17 | M10 6H D/E Plug | HC/01/73 | Monthly | ABC/451 | TH | 2026-12-01
18 | M10x1.50 6H Plug | HC/01/74 | Monthly | ABC/461 | TH | 2026-12-01
19 | M10x1.50 6G Plug | HC/01/75 | Monthly | ABC/471 | TH | 2026-12-01
20 | M12X1.5-6g D/E Plug | HC/01/76 | Monthly | ABC/481 | TH | 2026-12-01
21 | M12 x 1.50 6H D/E Plug | HC/01/77 | Monthly | ABC/491 | TH | 2026-12-01
22 | M12×1.75×6G D/E Plug | HC/01/78 | Monthly | ABC/501 | TH | 2026-12-01
23 | M12×1.25×6G DE Plug | HC/01/79 | Monthly | ABC/511 | TH | 2026-12-01
24 | 7/16"-20UNF 2B D/E Plug | HC/01/80 | Monthly | ABC/521 | TH | 2026-12-01
25 | 7/16"-20UNF 2B D/E Plug | HC/01/81 | Monthly | ABC/531 | TH | 2026-12-01
| Prepared By : Amit |  |  | 1

## Thread Ring gauge
High Tensile Fastnuts (I) Pvt Ltd
MASTER LIST OF SNAP GAUGES
SL. NO. | DESCRIPTION OF ITEM | HISTORY CARD NO. | PERIODICITY OF CALIBRATION | IDENTIFICATION MARK | LOCATION | CAL DUE ON
1 | M4X0.8x6H D/E | HC/01/82 | Monthly | ABC/30 | TH | 2026-12-01
2 | M4X0.8x6G D/E | HC/01/83 | Monthly | ABC/31 | TH | 2026-12-01
3 | M5X0.8-6H D/E | HC/01/84 | Monthly | ABC/32 | TH | 2026-12-01
4 | M5X0.8-6H D/E | HC/01/85 | Monthly | ABC/33 | TH | 2026-12-01
5 | M5×0.8 6G D/E | HC/01/86 | Monthly | ABC/34 | TH | 2026-12-01
6 | M6 Perpen Gge | HC/01/87 | Monthly | ABC/35 | TH | 2026-12-01
00Z | M6x1 6G D/E | HC/01/88 | Monthly | ABC/36 | TH | 2026-12-01
8 | M6X1 6H D/E | HC/01/89 | Monthly | ABC/37 | TH | 2026-12-01
10 | M6x1 6G D/E | HC/01/90 | Monthly | ABC/38 | TH | 2026-12-01
11 | M7x1 6G D/E | HC/01/91 | Monthly | ABC/39 | TH | 2026-12-01
12 | M8×1.25 6H D/E | HC/01/92 | Monthly | ABC/40 | TH | 2026-12-01
13 | M8×1.25 6H D/E | HC/01/93 | Monthly | ABC/41 | TH | 2026-12-01
14 | M8×1.25 6G D/E | HC/01/94 | Monthly | ABC/42 | TH | 2026-12-01
15 | M10×1.25 6H D/E | HC/01/95 | Monthly | ABC/43 | TH | 2026-12-01
16 | M10×1.25 6G D/E | HC/01/96 | Monthly | ABC/44 | TH | 2026-12-01
17 | M10 6H D/E | HC/01/97 | Monthly | ABC/45 | TH | 2026-12-01
18 | M10x1.50 6H | HC/01/98 | Monthly | ABC/46 | TH | 2026-12-01
19 | M10x1.50 6G | HC/01/99 | Monthly | ABC/47 | TH | 2026-12-01
20 | M12X1.5-6g D/E | HC/01/100 | Monthly | ABC/48 | TH | 2026-12-01
21 | M12 x 1.50 6H D/E | HC/01/101 | Monthly | ABC/49 | TH | 2026-12-01
22 | M12×1.75×6G D/E | HC/01/102 | Monthly | ABC/50 | TH | 2026-12-01
23 | M12×1.25×6G DE | HC/01/103 | Monthly | ABC/51 | TH | 2026-12-01
24 | 7/16"-20UNF 2B D/E | HC/01/104 | Monthly | ABC/52 | TH | 2026-12-01
25 | 7/16"-20UNF 2B D/E | HC/01/105 | Monthly | ABC/53 | TH | 2026-12-01
| Prepared By : Amit |  |  | Verified By : Vinod

## Furnace instrumnet
High Tensile Fastnuts (I) Pvt Ltd
MASTER LIST OF SNAP GAUGES
SL. NO. | DESCRIPTION OF ITEM | HISTORY CARD NO. | PERIODICITY OF CALIBRATION | IDENTIFICATION MARK | LOCATION | CAL DUE ON
1 | Analog Temp.Controller | HC/01/106 | Yearly | TC-01 | Furnace | 2026-12-01
2 | Temp.Controller | HC/01/107 | Yearly | TC-02 | Furnace | 2026-12-01
3 | Analog Temp.Controller | HC/01/108 | Yearly | TC-03 | Furnace | 2026-12-01
4 | Temp.Controller | HC/01/109 | Yearly | TC-04 | Furnace | 2026-12-01
5 | Analog Temp.Controller | HC/01/110 | Yearly | TC-05 | Furnace | 2026-12-01
6 | Temp.Controller | HC/01/111 | Yearly | TC-06 | Furnace | 2026-12-01
00Z | Temp.Controller | HC/01/112 | Yearly | TC-07 | Furnace | 2026-12-01
8 | Analog Temp.Controller | HC/01/113 | Yearly | TC-08 | Furnace | 2026-12-01
10 | Temp.Controller | HC/01/114 | Yearly | TC-09 | Furnace | 2026-12-01
11 | Analog Temp.Controller | HC/01/115 | Yearly | TC-10 | Furnace | 2026-12-01
12 | Temp.Controller | HC/01/116 | Yearly | TC-11 | Furnace | 2026-12-01
13 | Thermocouple | HC/01/117 | Yearly | TH-01 | Furnace | 2026-12-01
14 | Thermocouple | HC/01/118 | Yearly | TH-02 | Furnace | 2026-12-01
15 | Thermocouple | HC/01/119 | Yearly | TH-03 | Furnace | 2026-12-01
16 | Thermocouple | HC/01/120 | Yearly | TH-04 | Furnace | 2026-12-01
17 | Thermocouple | HC/01/121 | Yearly | TH-05 | Furnace | 2026-12-01
18 | Thermocouple | HC/01/122 | Yearly | TH-06 | Furnace | 2026-12-01
19 | Thermocouple | HC/01/123 | Yearly | TH-07 | Furnace | 2026-12-01
20 | Thermocouple | HC/01/124 | Yearly | TH-08 | Furnace | 2026-12-01
21 | Thermocouple | HC/01/125 | Yearly | TH-11 | Furnace | 2026-12-01
| Prepared By : Amit |  |  | Verified By : Vinod